MUNICIPALITY OF KOLAŠIN

MINUTES OF INFO MEETING AND SITE VISIT

Project: „Strengthening tourist infrastructure in Kolašin”

Reference: Europaid/131194/L/ACT/ME – CRIS No: 2011/274-409/03

Meeting: Tender information meeting and site visit

Venue: Offices of Municipality, Kolašin

Date: 15.06.2012, 08:00

Attending representatives of the Technical Assistence for Local-Self Government Reform to Montenegro:

1.Mr. Fabio Drago

2.Ms.Marija Šošić

3.Ms. Bojana Popadić

Attending representatives of the Municipality of Kolašin:

1.Mrs.Marta Šćepanović       2.Mrs.Ivana Grujić

Attending representatives of one tenderer

Key Information

Project manager made a brief presentation of the visit and it’s two parts: visit of the area where the construction should take place and discussion with the tenderers to explain the structure of tender dossier. Tenderers’ representatives were reminded about the following key dates concerning the tender:

*Deadline for submission of tenders is 10:00 hours on Thursday 05 July 2012 at Municipality of Kolašin. Tender opening session will be at 13:00 hours on Thursday 05 July 2012 in the premises of Technical Assistance Team in Podgorica (5, Svetozara Markovića St.);

*Deadline for request for any additional information from the Contracting Authority is on Monday 18 June 2012 at 10:00 hours;

Site visit

The tenderers' representatives had opportunity to visit area along the Tara river and planned promenade.

ANNEX 1

FORMAL RESPONSES TO TENDERERS'QUESTIONS

| TENDERERS' QUESTIONS | CONTRACT AUTHORITY'S RESPONSES |
| --- | --- |
| 1.BoQ, items 103 and 104: Material will be arranged and secured by the investor. Whether the material is located on the site ie. whether to count any additional transportation, shipping, etc? | Material in this item is gravel that is on the embankment, so there are no additional costs. |
| 2.BoQ item 202: Material in this position is square stone slab, thikness 5cm.Please precise other two dimension. | Dimensions of the square stone slab in the item 202 are 60cm (length) x 30cm (width) x 5cm (thickness). |
| 3.BoQ item 203: Material in this position is granit square block, 10x10x5cm. Is it possible to use prefabricated concrete block with final layer from granite instead of this full granite blocks? | It is not possible. |
| 4.BoQ item 206: Predicted material is concrete curbstones 15/20/80. Is it possible to use concrete curbstone with standard dimensions 18/24/80 in this position? | It is not possible. |
| 5.BoQ item 604: In position title write ( at the and of description): "Corrugated pipes made of polyethylene HDPE PE100 DN400 (inner diameter 600mm, outside diameter 615mm)" Please specify which diameter is subject of this position, DN400 mm or DN600 mm? | The correct diameter of the item 604 is DN 600mm. |
| 6.Where exactly is electricity connection and water connection? | Connection to the water is on the existing water supply PEHD DN100 close to „Sports hall“, at a distance of about 250m. Electrical outlet is on the TS „Sports Hall“ at a distance of about 250m. |
| 7.Vol. 4.3.2; 1800; 1801.1, 1801.2, 1801.3 exist some mistakes? Column with quantities should go one place up? Please give us additional explanation: item + appropriate unit of maesure + appropriate quantity | The corrected Volumes 4.3.2 and 4.3.3 are published together with these Clarifications. |