Technical specification as modified on 28th of March 2013

Tender reference: EuropeAid 130265/L/ACT/ME – CRIS No: 2010/256/584/12

Tender title: Supply of furniture for fire station of Berane

# ANNEX II + III :	TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of furniture for  fire station of Berane

Tender reference: EuropeAid 130265/L/ACT/ME – CRIS No: 2010/256/584/12

Column 1-2 are completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

Tender dossier requirements

- The specifications given are minimum requirements based on the items' projected function, required performance or intended purpose. Characteristics deviating from exact figures or values given in the specifications (unless exceeding the requirements), due to particular proprietary design of the actually offered product are acceptable, as long as the capacity is at least equivalent to the given specification and permissible under the standards quoted in the Technical Specifications.

- All equipment must be appropriate for operation under Montenegrin conditions.

- Any specification referring to a particular product or manufacturer, in particular to types, models and brand names, are to be understood as “or equivalent”. Where equivalency shall be subject to technical evaluation, the respective documentation giving evidence of equivalency, and - if appropriate - an assessment by an independent recognized party shall be provided with the offer.

- The Tenderer’s offer must be accompanied by technical brochures/datasheets issued by the respective manufacturers, showing in details type, dimensions, size and description of the offered material and/or technical documentation proving the required performance and parameters in order to verify the compliance with the technical specifications.

- All equipment items must carry a minimum two years full warranty including all parts and labour, except where stated otherwise. Suppliers must explicitly state their compliance with this requirement. During the warranty period, the Supplier shall provide technical service and shall replace any defective part of the goods supplied with new, including labour for fitting the part and setting up and calibrating the equipment where necessary. If repair is not possible within a two weeks the equipment shall be replaced with a similar item of at least equivalent specifications and standard.  The Supplier shall indicate how the technical service will be ensured.

- All equipment items must be delivered, installed, configured and fully tested on site at designated place of delivery. Instruction and training in the use of the equipment must be provided at time of delivery or other as per request of the Contracting Authority.  These services must be included as an integral component of the proposal.

- Delivery period for all the equipment shall be 90 days.

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Wooden bed |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (200x90×40cm) + /- 10 cm (l×w×h) |  |  |  |
|  | Description: | The bed is made of boiled beech wood or similar wood,wooden panels 30mm+ /-2mm, special attention to be given to the strength of the structure, simple design.. The item includes a mattress of adequate dimensions,color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 2 | Wardrobe(cassettes) |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (38x38x45cm)±5 cm( l× w×h). |  |  |  |
|  | Description: | Made from high-quality stainlesssteel sheet,tick( 1mm)±5% , door with lock cylinder, color light gray(RAL 9006)or equivalent. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 3 | Worktable |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (180 x75 x75cm)±5 cm (l×w×h) |  |  |  |
|  | Description: | Tabletop made of particle board with veneer or similar material25mm tick with ABS or similar material around 2 mm on all edges. The table has 3 to 4 movabledrawers withcentral locking, table legs from particle board with veneer or similar material with plastic lugs that separate table leg from the floor, color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 4 | Worktable |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (240 x90x 75cm) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Table top made of particle board with veneer or similar material 25mm tickwith ABS or similar material around 2 mm on all edges. Table has T shape metal legs colour RAL 9006 , with the possibility of laying cables.Color of the tabletop RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 5 | Worktable |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (180x 75x 75cm) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Tabletop made of particle board with veneer or similar material 25mm tickwith ABS or similar material around 2 mm on all edges. Table has T shape metal legs colour RAL 9006 or similar with the possibilityof laying of cables.Color of the tabletop RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 6 | Chairs |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (50×55×80) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Metal construction chair with 4 feet painted black,without armrest,seat and backrest made of leather or Similar material,in darkblue colour (RAL 5017) or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 7 | Lecturerschair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (55×55×85) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Metal construction of the chair in the form of sled, colour light gray or similar.Seat and backrest made of leather or similar materila,darkblue color(RAL 5017)or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 8 | Dresser |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45 x100 x 210 cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Made​​of particle board with veener or Similar material 18mm tickwith ABS or similar material around 2 mm on all edges. It has 2 pair of doors in the width of 1 wing ±50. Dresser has 2 shelves, minimal space between shelves is 33cm.Tickness of the shelves is 30mm.The dresser has plastic lugs that separate it from the floor. Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 9 | Sofa for living room |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (80×210×65 cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Coated witheco-leather or fabric or Similar material, color (RAL 8017)or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 10 | Worktable for trainers |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (415 x80 x75 cm) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Table made​​of particle board with veneer or Similar material 25mm tick with ABS or similar material around 2 mm on all edges. It consists of two segments.The table legsare made of particle board or Similar materialwith plastic lugs that separate table leg from the floor, color RAL 9006or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 11 | Table for exposure |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (105x 45x 110cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Table made​​of particle board with veneer or Similar material 25mm tick with ABS or similar material around 2 mm on all edges. The table legs are made of particle board with veneer or Similar materialwith plastic lugs that separate table leg from the floor, color RAL 9006or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 12 | Built-in wardrobe |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (65x200 x260 cm) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Wardrobe is made ​​of particle board with veneer or Similar material18mm tick with ABS or similar material around 2 mm on all edges. It has 3 door wings ±66cm wide. Part with 2 doors consists of one shelve, space between shelve and hanger is 140cm. Doors with lock cylinder. Second part with one door has 4 shelves, minimal space between shelves 40 cm. Tickness of the shelve 25mm with a part for hangers. Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 13 | Dressing desk |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (70 x355x72 cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Table is made ​​of particle board with veneer or Similar material 18mm tick with ABS or similar material around 2 mm on all edges. It consists of two segments. The table legs are made of particle board with veneer or similar material with plastic lugs that separate table leg from the floor, color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 14 | Dressing table mirror |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (130 x100cm) ±5cm (l×w) |  |  |  |
|  | Description: | Frame of mirror is made​​from particle board with veneer or similar material.The frame is 6 to 8 cm wide.ColorRAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 15 | Double bed |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (200 x180×40 cm) ±10 cm (l×w×h) |  |  |  |
|  | Description: | Double bed is made of particle board with veneer or similar material 25mm tickwith ABS or similar material around 2 mm on all edges. The item includes a mattress of adequate dimensions, stand for mattress is made of particle board with veneer or similar material 20 mm tick, color RAL8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 16 | Bedside table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45×50×60 cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Table is made of particle board with veneer or similar material 25mm tickwith ABS or similar material around 2 mm on all edges,with one drawer and small door.Retangular handles on the door and drawer in the lighl grey or black color. Table legs are made of particle board with veneer or similar material with plastic lugs that separate table leg from the floor.Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 17 | Armchair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (58 x55×75cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Armchair is upholstered with eco- leather or fabric in a form of a horseshoe or similar,black color. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 18 | Club table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (60 x60 x45cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Tabletop is made of particle board with veneer or similar material 25mm tickwith ABS or similar material around 2 mm on all edges. Table has T shape metal legs made of chrome or stainelss steel or Similar material. Color of tabletop RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 19 | Auxiliary table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (120x 60x 65cm) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Table is made of particle board with veneer or Similar material 25mm tickwith ABS or similar material around 2 mm on all edges, table legs made​​ from particle board with veneer or Similar material with plastic lugs that separate table leg from the floor. Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 20 | Armchair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (55×56×88) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Metal chrome design in the shape of sleighs. Ecoupholstered leather or fabric or similar with deeper backrest.Color(RAL 8003)or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 21 | Chair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (55×56×88) ±5 cm (l×w×h) |  |  |  |
|  | Description: | Metal chrome designin the shape of sleighs, Ecoupholstered leather or fabric or similar with deeper backrest, black color(RAL 9017)or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 22 | Work chair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (58×56×100-110cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Ergonomic design,ajustment possibility of raising and lowering, with rollers and hidraulic for seat-back ajustment up/down, forward/backward, PVC basis, arm ajustment possibility. With 4 rollers, two of which have breaks. Color RAL (9017) or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 23 | Chair |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (60×58×120-130 cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Ergonomic design,ajustment possibility of raising and lowering, with rollers and hidraulic for seat-back ajustment up/down, forward/backward.Metal PVC construction, in the shape of star. With 4 rollers, two of which have breaks. Color RAL (9017) or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 24 | Table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | ( 215 x90 x75 cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Table is made of particle board with veneer or Similar material 25-30mm tickwith ABS or similar material around 2-2.5 mm on all edges and the downer tabletop edges, T shapealuminumpainted metal legs, with the possibility oflaying the cable , with 3 to 4 movable drawers and a centrallock. Color of table RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 25 | Dressser |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45 x110×100 cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Made ​​of particle board with veneer or Similar material 18mm tick with ABS or similar material around 2 mm on all edges. It has a pair of doors, one of which is ±55cm wide. Dresser has 2 shelves, minimal space between shelves is 33cm.Tickness of the shelves is 30mm.The dresser has plastic lugs that separate it from the floor. Color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 26 | Dresser |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45 x270 x100cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Made​​ particle board with veneer or Similar material 18mm tick with ABS or similar material around 2 mm on all edges. It has 3 pair of doors, one of which is±45cm wide. It has a pair of doors made of glass. Glass frames are made of 6 to 8 cm wide particle board with veneer. Dresser has 2 shelves, minimal space between shelves is 33cm.Tickness of the shelves is 30mm.The dresser has plastic lugs that separate it from the floor. Color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 27 | Dresser |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45x400 x100cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Made​​of particle board with veneer or Similar material 18mm tick with ABS or similar material around 2 mm on all edges. It has 5 pair of doors one of which is±40 cm wide. It has a 2 pair of doors made of glass. Glass frames are made of 6 to 8 cm wide particle board with veneer. Dresser has 2 shelves, minimal space between shelves 33cm.Tickness of the shelves is 30mm.The dresser has plastic lugs that separate itfrom the floor. Color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 28 | Dresser |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (45 x380 x100cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Made of​​ particle board with veneer or Similar material 18mm tick with ABS or similar material around 2 mm on all edges. It has 4 pair of doors, one of which is ±47 cm wide. It has a 2 pair of doors made of glass. Glass frames are made of 6 to 8 cm wide particle board with veneer. Dresser has 2 shelves, minimal space between shelves 33cm.Tickness of the shelves is 30mm.The dresser has plastic lugsthat separate it from the floor. Color RAL 8012 or similar |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 29 | Guest table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | ( 65x 55×75cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Table is made of particle board with veneer or Similar material 25mm tickwith ABS or similar material around 2 mm on all edges, table legs made ​​from particle board with veneer or Similar material with plastic lugs that separate table leg from the floor. Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 30 | Guest table |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (152 x42×75 cm) ±5cm (l×w×h) |  |  |  |
|  | Description: | Table is made of particle board with veneer or Similar material 25mm tickwith ABS or similar material around 2 mm on all edges, table legs made​​ from particle board with veneer or Similar material with plastic lugs that separate table leg from the floor. Color RAL 8012 or similar. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 31 | TV |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Display | minimum:37" |  |  |  |
|  | Description: | TV LCD, FULL HD 1080P Clear voice 2, picture wizard 2 USB 2.0 (JPEG/MP3/DVIX HD) Size: 37-42" Sound format 16:9 Resolution 1920×1080 Sound mode (5 modes) HDMI, Scart, USB port Color: black |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 32 | Refrigerator |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Capacity: | 86-130 l |  |  |  |
|  | Dimensions: | (60×55×85 cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Refrigerator with freezer Energetic class A (at least) Total volume: 86-130 l Method of cooling-Natural airflow Freezer volume: 10-20 l Melting system- Authomatic Level of noise- 41 dB(A) re 1 pW Power: 83 to 100 kW Maximum electricity: 0.54A Color: White |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 33 | Electric Stove-mini oven |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions | (32×57×35 cm)±5 cm (l×w×h) |  |  |  |
|  | Description: | 2 plates ,enamelled oven, capacity at least 28 L, power at least 2650 W, grill at least 1000 W, constant temperature control, double glass door, white color. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 34 | Washing machine |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (55×60×85cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Voltage/frequency-220-240 V/50-60 Hz ,Maximal loading of at least 7 kg, energetic class at least A+, centrifuge efficiency at least class C. Fuse min 16 A, heater from 2000 to 2400 W,spin speed 800 spin/min at least, white colour. |  |  |  |

| Item Number | Specifications | Specifications Offered | Notes, remarks, ref to documentation | Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 35 | Dryer machine |  |  |  |
|  | Parameter | Characteristics (minimal requirements) |  |  |  |
|  | Dimensions: | (60×60×85 cm)±5cm (l×w×h) |  |  |  |
|  | Description: | Voltage/frequency-230 V/50 Hz, power from 2500 W to 2800 W, Maximal loading of at least 7 kg, fuse min 16 A, heater from 2300 to 2600 W, spin speed 1200 spin/min at least, minimum energy efficiency at least class B, LED display. Drying noise lower than dB (re 1 pW)-67, white colour. |  |  |  |
|  | Weight | 38-40 kg |  |  |  |