# VOLUME 5

# DESIGN DOCUMENTS, INCLUDING DRAWINGS

Section 5.1

List of drawings attached

| No | Name | Folder No | Design No |
| --- | --- | --- | --- |
| STRUCTURE |
| 1. | SITE PLAN | 02 | 01 |
| 2. | FUNDATIONS PLAN | 02 | 02 |
| 3. | UNDERGROUND PLAN | 02 | 03 |
| 4. | GROUND PLAN | 02 | 04 |
| 5. | FRST FLOOR PLAN | 02 | 05 |
| 6. | ROOF PLAN | 02 | 06 |
| 7. | SECTION 1-1 | 02 | 07 |
| 8. | SECTION 2-2 | 02 | 08 |
| 9. | SECTION 3-3 | 02 | 09 |
| 10. | SECTION 4-4 | 02 | 10 |
| 11. | SECTION 5-5 | 02 | 11 |
| 12. | SOUTHEAST AND NORTHWEST façade | 02 | 12 |
| 13. | NORTHEAST AND SOUTHWEST FACADE | 02 | 13 |
| ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER |
| 14. | ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER-SITUATION - POWER LINES | 05 | 01 |
| 15. | ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER OF BASEMENT | 05 | 02 |
| 16. | ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER-BASE OF GROUND FLOOR | 05 | 03 |
| 17. | ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER- BASE OF 1ST FLOOR | 05 | 04 |
| 18. | ELECTRICAL INSTALLATION OF HIGH VOLTAGE POWER OF PAYMENT KIOS | 05 | 05 |
| 19. | SINGLE LINE DIAGRAM OF THE MAIN SWITCHBOARD GRT | 05 | 06 |
| 20. | SINGLE LINE DIAGRAM OF SWITCHBOARDS RT-P | 05 | 07 |
| 21. | INSTALLATION OF GROUNDING- BASE OF FOUNDATION-FOUNDATION GROUNDING | 05 | 08 |
| 22. | INSTALLATION OF LIGHTNING- BASE OF THE ROOF- CARRYING SYSTEM | 05 | 09 |
| LOW VOLTAGE ELECTRICAL INSTALLATIONS |
| 23. | EISS – TK CANALIZATION – SITUATION | 06 | 01 |
| 24. | EISS – SYSTEM FOR AUTOMATICALLY BILLING AND PAYMENT OF PARKING- TRASA | 06 | 02 |
| 25. | EISS – BASIS OF FLOORS (BASEMENT, GROUND FLOOR, FIRST FLOOR) | 06 | 03(3 drawings) |
| 26. | SINGLE LINE PATTERN FOR SYSTEM IP VIDEO SURVEILLANCE AND SYSTEM FOR AUTOMATICALLY BILLING AND PAYMENT OF PARKING. | 06 | 04 |
| HYDRO-TECHNICAL INSTALLATIONS |
| 27. | SITUATION | 04 | 01 |
| 28. | BASEMENT BASE | 04 | 02 |
| 29. | GROUND FLOOR BASE | 04 | 03 |
| 30. | FIRST FLOOR BASE | 04 | 04 |
| 31. | ROOF BASE | 04 | 05 |
| 32. | ISOMETRIC WATER SUPPLY DIAGRAM | 04 | 06 |
| 33. | SECTION OF FECAL SEWAGE | 04 | 07 |
| 34. | SECTION OF ATMOSPHERIC SEWAGE V1-7 AND V14 | 04 | 08 |
| 35. | SECTION OF ATMOSPHERIC SEWAGE V8-11 | 04 | 09 |
| 36. | SECTION OF ATMOSPHERIC SEWAGE V12-13 | 04 | 10 |
| TRAFFIC |
| 37. | SIGNALING | 03 | 01 |

Drawings are available for inspection from 12th April 2012 at the following address:

http://www.uom.co.me/?page_id=1507

## Consultant: Petar Korać

## Person in charge: Sanel Ljuškovič

## Tel.: 	+ 382(0) 50 484 793

## Fax: 	+382(0) 50 484 793

E-mail: sanellj@hotmail.com

Signature:

(a person or persons authorised to sign on behalf of the tenderer)

Date: