| Item No. | Item name | Naziv artikla |
| --- | --- | --- |
| 1 | Cement for concrete and reinforced concrete PC-32,5 Portland cement (or equivalent) (50 kg bags) | Cement – Za betonske i AB pozicije PC-32,5 Portland cement (ili ekvivalent), pakovanje u vrećama od 50kg |
| 2 | Sand – Fraction of sand (0-4) for construction brickwork and plastering | Pijesak – Frakcija pijeska za zidanje i malterisanje (0-4) |
| 3 | Gravel – Kibbled fraction (0-32) for concrete and reinforced concrete works | Šljunak – Drobljena frakcija (0-32) za betonske i AB radove |
| 4 | Tampon – Natural stone material, fraction (32-90) | Tampon – Prirodni materijal, frakcija (32-90) |
| 5 | Clay brick type “Giter” – constructive element from baked clay (19cm x 19cm x 25cm) | Giter blok – opeka, zidani konstruktivni materijal od pečene gline (19cm x 19cm x 25cm) |
| 6 | Clay brick – constructive element from baked clay (12cm x 19cm x 25 cm) | Pregradni blok – opeka, zidani elemenat od pečene gline (12cm x 19cm x 25 cm) |
| 7 | Roof tiles type “Continental Plus” or equivalent for covering structures | Crijep ”Continental Plus” ili ekvivalent za pokrivanje objekta |
| 8 | Roof edge tiles from clay for covering top of roof (angled top joints) | Samari – Opekarski fazonski elemenat za pokrivanje grbina krova |
| 9 | Concrete brick (12cm x 19 cm x 39 cm) | Betonski blok – pregradni (12cm x 19 cm x 39 cm) |
| 10 | Armature – concrete steel (Č 0550 or Č 0551) - reinforcement bars (Ø6mm, Ø8mm, Ø10mm, Ø12mm, Ø14mm, Ø16mm) | Armatura – betonsko željezo (Č 0550 ili Č 0551) – armaturne šipke (Ø6mm, Ø8mm, Ø10mm, Ø12mm, Ø14mm, Ø16mm) |
| 11 | Armature – concrete steel (Č 0550 or Č 0551) - reinforcement mesh (Q188, Q335) | Armatura – betonsko željezo (Č 0550 ili Č 0551) – armaturna mreža (Q188, Q335) |
| 12 | Armature bars scissors, suitable for cutting bars up to Ø12 | Makaze za sječu armaturnog željeza do Ø12mm |
| 13 | Galvanized wire, Ø4 mm | Rajz žica - Ø4 mm |
| 14 | Annealed wire, Ø 1,5 mm | Paljena žica - Ø 1,5 mm |
| 15 | Steel construction – cold rolled steel profiles, quality CO361 - (160x100x5; 100x100x5; 60x60x4; 160x60x3; 120x60x3; 60x60x3; 160x100x5) | Čelična konstrukcija – Hladno valjani čelični profili kvaliteta C0361 - (160x100x5; 100x100x5; 60x60x4; 160x60x3; 120x60x3; 60x60x3; 160x100x5) |
| 16 | Sandwich panels – facade and roof panel from 2 layers of trapezoidal section sheet metal and infill from polyurethane (width 4 cm) | Sendvič paneli – Fasadni i krovni panel od 2 sloja TR lima i ispune od poliuretana debljine 4 cm |
| 17 | Anchor plates (6mm and 10mm thickness) – steel quality 5.6 with anchor bars (50 cm – Ø21 mm) | Ankerne ploče (debljine 6mm i 10mm) – Kvalitet čelika 5.6 sa ankernim šipkama (50 cm – Ø21 mm) |
| 18 | Screws for steel construction (complete with nut and washer) – quality 4.6 – M24 | Šarafi za čeličnu konstrukciju (sa maticama i podloškama) – kvalitet šarafa 4.6 – M24 |
| 19 | Screws for steel construction (complete with nut and washer) – quality 4.6 – M16 | Šarafi za čeličnu konstrukciju (sa maticama i podloškama) – kvalitet šarafa 4.6 – M16 |
| 20 | Screws for steel construction (complete with nut and washer) – quality 4.6 – M10 | Šarafi za čeličnu konstrukciju (sa maticama i podloškama) – kvalitet šarafa 4.6 – M10 |
| 21 | Electrodes for connecting individual parts of steel construction – type EUWELD 303 | Elektrode za spajanje pojedinih djelova čelične konstrukcije – tip elektrode EUWELD 303 |
| 22 | Anti-corrosion protection for steel construction with basic paint | Antikorozivna zaštita za čeličnu konstrukciju temeljnom farbom |
| 23 | Metal truss from pipes Ø80 mm, pull-out system (2-4,5 m) | Metalni podupirači od cijevi Ø80 mm, na izvlačenje (2-4,5 m) |
| 24 | PVC folia (thickness 80-130 micrometers) | PVC folija (debljine 80-130 mikrona) |
| 25 | Term isolation – type “Tervol “ or equivalent d=10 cm in both sides PVC folia | Termo izolacija – ”Tervol” ili ekvivalent d=10 cm u obostranoj PVC foliji |
| 26 | Hydro isolation – type “Kondor” 4mm or equivalent | Hidro izolacija – ”Kondor” 4mm ili ekvivalent |
| 27 | Hydro isolation – type “Biltulit”, binding material or equivalent | Hidro izolacija – ”Bitulit”, vezivno sredstvo ili ekvivalent |
| 28 | PVC sliding door 270/324 cm, 5 chamber PVC profile with panel infill of 18 mm and armed glass mass d=6mm, with door hinges and frame and elzet cylinder for locking | PVC klizna vrata, 270/324 cm, petokomorni PVC profili sa panel ispunom od 18mm i armiranom staklenom stijenom d=6mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 29 | PVC entry door 140/210 cm + 60 cm, 5 chamber PVC profile with panel infill of 18 mm and armed glass mass d=6mm, with door hinges and frame and elzet cylinder for locking | PVC ulazna vrata, 140/210 cm + 60 cm, petokomorni PVC profili sa panel ispunom od 18mm i armiranom staklenom stijenom d=6mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 30 | PVC entry door 100/210 cm, 5 chamber PVC profile with panel infill of 18 mm and armed glass mass d=6mm, with door hinges and frame and elzet cylinder for locking | PVC ulazna vrata, 100/210 cm, petokomorni PVC profili sa panel ispunom od 18mm i armiranom staklenom stijenom d=6mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 31 | PVC window, three wings, 192/79 cm, 5 chamber PVC profile, ventus and around axle opening, term pan glass 4+12+4, with hinges and frame | PVC prozor, trokrilni, 192/79 cm, petokomorni PVC profil, otvaranje na ventus i oko osovine sa termopan staklom 4+12+4, komplet šarki i okovi |
| 32 | PVC window, one wing, 70/120 cm, 5 chamber PVC profile, ventus and around axle opening, term pan glass 4+12+4, with hinges and frame | PVC prozor, jednokrilni, 70/120 cm, petokomorni PVC profil, otvaranje na ventus i oko osovine sa termopan staklom 4+12+4, komplet šarki i okovi |
| 33 | PVC window, one wing, 80/120 cm, 5 chamber PVC profile, ventus and around axle opening, term pan glass 4+12+4, with hinges and frame | PVC prozor, jednokrilni, 80/120 cm, petokomorni PVC profil, otvaranje na ventus i oko osovine sa termopan staklom 4+12+4, komplet šarki i okovi |
| 34 | PVC window, one wing, 100/120 cm, 5 chamber PVC profile, ventus and around axle opening, term pan glass 4+12+4, with hinges and frame | PVC prozor, jednokrilni, 100/120 cm, petokomorni PVC profil, otvaranje na ventus i oko osovine sa termopan staklom 4+12+4, komplet šarki i okovi |
| 35 | PVC inside door 70/210 cm, 5 chamber PVC profile with panel infill of 18 mm, with door hinges and frame and elzet cylinder for locking | PVC unutrašnja vrata 70/210 cm, petokomorni PVC profili sa panel ispunom od 18mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 36 | PVC inside door 80/210 cm, 5 chamber PVC profile with panel infill of 18 mm, with door hinges and frame and elzet cylinder for locking | PVC unutrašnja vrata 80/210 cm, petokomorni PVC profili sa panel ispunom od 18mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 37 | PVC inside door 90/210 cm, 5 chamber PVC profile with panel infill of 18 mm, with door hinges and frame and elzet cylinder for locking | PVC unutrašnja vrata 90/210 cm, petokomorni PVC profili sa panel ispunom od 18mm, komplet šarki, okovi i elzet cilindrom za zaključavanje |
| 38 | Floor Ceramic tiles – glazed ceramic, 30 x 30 x 1, I class, in brown color tonus | Podne keramičke pločice – glazirana keramika, 30 x 30 x 1, I klasa, u tonu kafene boje |
| 39 | Wall Ceramic tiles – glazed ceramic, 20 x 30 x 1, I class, in bright brown color tonus | Zidne keramičke pločice – glazirana keramika, 20 x 30 x 1, I klasa, u tonu svijetle kafene boje |
| 40 | Glue for ceramic | Lijepak za keramiku |
| 41 | Fugomal or equivalent – mass for infill of ceramic tiles joints, bright tone color | Fugomal ili ekvivalent – masa za ispunu keramičkih fuga, u svijetlom tonu boje |
| 42 | Plaster for smoothing walls | Glet maza za izravnjavanje zidova |
| 43 | Bavalit or equivalent, for painting outdoor walls, white | Bavalit ili ekvivalent, za bojenje spoljašnjih zidova, bijele boje |
| 44 | Jupol or equivalent, mass for painting inside walls and ceilings, white | Jupol ili ekvivalent, masa za bojenje unutrašnjih zidova i plafona, bijele boje |
| 45 | Construction timber beam 5cm x 8 cm, 4 m length, dry coniferous wood, I class | Gredice - 5cm x 8 cm, dužine 4m, suva čamova građa, I klasa |
| 46 | Construction timber lath 5cm x 4 cm, 4 m length, dry coniferous wood, I class, | Letve - 5cm x 4 cm, 4m dužine, suva čamova građa, I klasa |
| 47 | Plywood, 1200x2400x18 mm. Water proof | Blažujka, 1200x2400x18 mm, vodotporna |
| 48 | Oil for plywood smear | Ulje za premazivanje blažujki |
| 49 | Wood plank, 24 mm thickness, average width 20 cm, 4 m length, dry coniferous wood, II class | Daska, 24 mm debljine, prosječna širina 20 cm, 4 m dužine, suva čamova građa, II klasa |
| 50 | Construction timber beam 5cm x 8 cm, 4 m length, dry coniferous wood, II class | Drvene gredice 5cm x 8 cm, 4 m dužine, suva čamova građa, II klasa |
| 51 | Construction timber beam 10cm x 10 cm, 4 m length, dry coniferous wood, II class | Drvene gredice 10cm x 10 cm, 4 m dužine, suva čamova građa, II klasa |
| 52 | Vertical gutter, 10 cm x 12 cm, from plasticized metal sheets 0,55, brown | Verikalni oluci, 10 cm x 12 cm, od plastificiranog lima 0,55, braon boje |
| 53 | Horizontal gutter, 10 cm x 12 cm, from plasticized metal sheets 0,55, brown | Horizontalni oluci, 10 cm x 12 cm, od plastificiranog lima 0,55, braon boje |
| 54 | Gutter bends, from plasticized metal sheets 0,55, brown | Opšivka uvala, od plastificiranog lima 0,55, braon boje |
| 55 | Gutter elbow, from plasticized metal sheets 0,55, brown | Fazonski elementi oluka – ”koljena”, od plastificiranog lima 0,55, braon boje |
| 56 | Vertical gutter holders, from galvanized metal sheets, brown | Nosači vertikalnih oluka, od pocinčanog lima, braon boje |
| 57 | Horizontal gutter holders, from galvanized metal sheets, brown | Nosači horizontalnih oluka, od pocinčanog lima, braon boje |
| 58 | Protective stairway fence, from inox metal for inner stairway | Zaštitna ograda – inox metalna ograda za unutrašnje stepenište |
| 59 | Power measuring and distributive rack from polyester, including: three-phase two tariff meter(10-40) A – 1 pcs, with integrated inbuilt counter – 1 pcs, limiter C32A/3P 6 kA 3P – 1 pcs, automatic fuse 25 A – 9 pcs, drain away of over voltage type V25-B+C/3+NPE– 1 pcs | Mjerni i razvodni ormar od poliestera sa sledećom opremom: trofazno dvotarifno brojilo (10-40) A – 1 komad; sa integrisanim uklopnim satom – 1 komad; limitator C32A/3P 6 kA 3P – 1 komad; automatski osigurači 25 A – 9 komada; odvodnik prenapona tip V25-B+C/3+NPE– 1 komad |
| 60 | Power measuring and distributive rack from polyester, including: three-phase two tariff meter(10-40) A – 1 pcs, with integrated inbuilt counter – 1 pcs, limiter C32A/3P 6 kA – 1 pcs, disconnecting switch IN-63 A, drain away of over voltage type V25-B+C/3+NPE– 1 pcs | Mjerni i razvodni ormar od poliestera sa sledećom opremom: trofazno dvotarifno brojilo (10-40) A – 1 komad; sa integrisanim uklopnim satom – 1 komad; limitator C32A/3P 6 kA – 1 komad, IN sklopka IN-63 A – 1 komad; odvodnik prenapona tip V25-B+C/3+NPE– 1 komad |
| 61 | Power distribution table, including: protective device for differential current 40/0,03 A -1 pcs, instalational automatic switch 16 A – 9 pcs, instalational automatic swith 10 A – 3 pcs | Razvodna tabla, sa sledećom opremom: zaštitni uređaj diferencijalne struje 40/0,3 A – 1 komad; instalacioni automatski prekidači 16 A – 9 komada; instalacioni automatski prekidači 10 A – 3 komada |
| 62 | Power distribution table, including: protective device for differential current 40/0,03 A -1 pcs, instalational automatic switch 25 A – 3 pcs, instalational automatic swith 16 A – 25 pcs, instalational automatic swith 10 A – 6 pcs | Razvodna tabla, sa sledećom opremom: zaštitni uređaj diferencijalne struje 40/0,03 A – 1 komad; instalacioni automatski prekidači 25 A – 3 komada; instalacioni automatski prekidači 16 A – 25 komada; instalacioni automatski prekidači 10 A – 6 komada |
| 63 | Power distribution table, including: protective device for differential current 40/0,03 A -1 pcs, instalational automatic swith 16 A – 14 pcs, instalational automatic swith 10 A – 3 pcs | Razvodna tabla, sa sledećom opremom: zaštitni uređaj diferencijalne struje 40/0,03 A – 1 komad; instalacioni automatski prekidači 16 A – 14 komada; instalacioni automatski prekidači 10 A – 3 komada |
| 64 | Power distribution table, including: protective device for differential current 40/0,03 A -1 pcs, instalational automatic swith 16 A – 10 pcs, instalational automatic swith 10 A – 3 pcs | Razvodna tabla, sa sledećom opremom: zaštitni uređaj diferencijalne struje 40/0,03 A – 1 komad; instalacioni automatski prekidači 16 A – 10 komada; instalacioni automatski prekidači 10 A – 3 komada |
| 65 | Power conductor, PP-Y 5 x 10 mm2 | Provodnik, PP-Y 5 x 10 mm2 |
| 66 | Three-phase Power conductor, PP-Y 5 x 2,5 mm2 | Trofazni provodnik, PP-Y 5 x 2,5 mm2 |
| 67 | Power conductor, PP-Y 3 x 2,5 mm2 | Provodnik, PP-Y 3 x 2,5 mm2 |
| 68 | Power conductor, PP-Y 3,4 x 1,5 mm2 | Provodnik, PP-Y 3,4 x 1,5 mm2 |
| 69 | On ceiling luminaire (neon, 4 x 18 W). Complete | Plafonske svjetiljke (neonske, 4 x 18 W). Komplet |
| 70 | Conductor P/F-4 mm2 – 30 m, galvanized clamp 20 x 1 mm – 8 pcs, with box for equalization of potential PS-49 – 1pcs, conductor P-6 mm2 – 15 m | Provodnik P/F-4 mm2 – 30 m, pocinkovane šelne 20 x 1 mm – 8 komada, sa kutijom za izjednačenje potencijala PS-49 – 1 komad, provodnik P-6 mm2 – 15 m |
| 71 | In wall Power switch, regular, 250 V,10 A | Ugradni prekidač u zidu, obični, 250 V, 10 A |
| 72 | In wall Power switch, serial, 250 V, 10 A | Ugradni prekidač u zidu, serijski, 250 V, 10 A |
| 73 | In wall Power switch, alternating, 250 V, 10 A | Ugradni prekidač u zidu, naizmjenični, 250 V, 10 A |
| 74 | In wall Power three-phase socket with protective connectors (shuko) | Ugradna trofazna ”šuko” priključnica u zidu |
| 75 | In wall Power mono-phase socket with protective connectors (shuko) | Ugradna monofazna ”šuko” priključnica u zidu |
| 76 | In wall Power mono-phase socket with protective contacts (shuko), water-tight with cover | Ugradna monofazna ”šuko” priključnica u zidu, vodonepropusna sa poklopcem |
| 77 | In wall Power three-phase socket with protective connectors (shuko), water-tight with cover | Ugradna trofazna ”šuko” priključnica u zidu, vodonepropusna sa poklopcem |
| 78 | In wall modular box, with 6 mono-phaze sockets with protective contacts (shuko), plastic, white | Ugradna modularna kutija u zidu, sa 6 monofaznih ”šuko” priključnica, plastična, bijela |
| 79 | Zink galvanized tape Fe-Zn 25x4 mm | Pocinčane trake Fe-Zn 25x4 mm |
| 80 | Zink galvanized tape Fe-Zn 20x3mm | Pocinčane trake Fe-Zn 20x3mm |
| 81 | Power conductor PP-00 4x16 mm2 | Provodnik PP-00 4x16 mm2 |
| 82 | Power conductor PP-00 5x6 mm2 | Provodnik PP-00 5x6 mm2 |
| 83 | Power conductor PP-00 5x2,5 mm2 | Provodnik PP-00 5x2,5 mm2 |
| 84 | Power conductor PP-00 3x2,5 mm2 | Provodnik PP-00 3x2,5 mm2 |
| 85 | Power conductor PP-00 3x1,5 mm2 | Provodnik PP-00 3x1,5 mm2 |
| 86 | Rack bracket PNK 100/50 | Regalni nosači PNK 100/50 |
| 87 | PVC power distribution box Ø100 | PVC razvodna kutija Ø100 |
| 88 | Insulating tape (10 m) | Izolir traka (10 m) |
| 89 | PP, PEVG pipe Ø50 mm | PP, PEVG cijev Ø50 mm |
| 90 | PP, PEVG pipe Ø20 mm | PP, PEVG cijev Ø20 mm |
| 91 | PP, PEVG pipe Ø15 mm | PP, PEVG cijev Ø15 mm |
| 92 | Water pipe reductions (from Ø50 to Ø20) | Redukcije vodovodnih cijevi (sa Ø50 na Ø20) |
| 93 | Water pipe reductions (from 1’’ to ¾’’) | Redukcije vodovodnih cijevi (sa 1’’ na ¾’’) |
| 94 | Water pipe reductions (from ¾’’ to 1/2’’ ) | Redukcije vodovodnih cijevi (sa ¾’’ na 1/2’’ ) |
| 95 | Water pipe elbow 90˚, ¾’’ | Koljeno za vodovodnu cijev, 90˚, ¾’’ |
| 96 | Water pipe elbow 90˚, 1/2’’ | Koljeno za vodovodnu cijev, 90˚, 1/2’’ |
| 97 | Water pipe coupling – Ø50 mm | Spojnice za vodovodnu cijev – Ø50 mm |
| 98 | Water pipe coupling – Ø20 mm | Spojnice za vodovodnu cijev – Ø20 mm |
| 99 | Water pipe straight fitting double coupling – Ø20 mm | Dupli-nipl, dvostrani nastavak za vodovodne cijevi – Ø20 mm |
| 100 | Water pipe straight fitting double coupling – Ø15 mm | Dupli-nipl, dvostrani nastavak za vodovodne cijevi – Ø15 mm |
| 101 | Water valve, ½’’ | Ventili za vodovodne cijevi, ½’’ |
| 102 | Water meter, complete, Ø50 mm | Vodomjer, komplet, Ø50 mm |
| 103 | Water meter, complete, Ø20 mm | Vodomjer, komplet, Ø20 mm |
| 104 | Anti-fire hydrant (PPH) | Protiv požarni hidrant (PPH) |
| 105 | PVC pipe for sewage Ø200 mm | PVC kanalizaciona cijev Ø200 mm |
| 106 | PVC pipe for sewage Ø110 mm | PVC kanalizaciona cijev Ø110 mm |
| 107 | PVC pipe for sewage Ø75 mm | PVC kanalizaciona cijev Ø75 mm |
| 108 | PVC pipe for sewage Ø50 mm | PVC kanalizaciona cijev Ø50 mm |
| 109 | PVC sewage pipe bend Ø110 mm/90˚ | PVC kanalizaciona cijev, luk, Ø110 mm/90˚ |
| 110 | PVC sewage pipe prong Ø110 mm/75˚ | PVC kanalizaciona cijev, račva, Ø110 mm/75˚ |
| 111 | PVC drain, 100x100 mm | PVC slivnik, 100x100 mm |
| 112 | Toilet bowl from faience or equivalent, including: bowl, plastic pipe Ø32 for connection of bowl and washer, noiseless low-montage built-in toilet tank, pipe 3/8’’ for connection toilet tank and angled valve, toilet seat with cover from hard plastic, rubber pad under bowl, rubber cover with clamp for connection of bowl and plastic pipe for toilet tank, PVC pipe Ø100 for connection of bowl and sewage, brass screw bolt and plastic dowels for connection of bowl and ground | WC šolja od fajansa ili ekvivalent, uključujući: šolja, plastična cijev Ø32 za spoj šolje i ispirača, bešumni nisko montažni ugradbeni vodokotlić, cijev 3/8’’ za povezivanje vodokotlića i ugaonog ventila, sjedište sa poklopcem od tvrde plastike, gumena podloga ispod šolje, gumena navlaka sa obujmicama za spoj šolje sa plastičnom cijevi za ispirač, PVC cijev Ø100 za spoj šolje sa kanalizacijom, mesingani zavrtnjevi i plastični tiplovi za spoj šolje i poda |
| 113 | Washbasin from faience or equivalent, white, 60 cm x 45 cm including: washbasin, discharge valve, chrome drainage tube 5/4’’, brass screw bolt and plastic dowels for wall connection | Umivaonik od fajansa ili ekvivalent, bijele boje 60 x 45 cm uključujući: umivaonik, odlivni ventil, hromirani sifon 5/4’’, mesingani zavrtnjevi i plastični tiplovi za povezivanje sa zidom |
| 114 | One handed standing water battery, chromed | Jednoručna stojeća hromirana baterija |
| 115 | Instantaneous water heater, 15 liters including necessary armament | Protočni bojler zapremine 15 l uključujuću neophodnu armaturu |
| 116 | Mirror, 50 cm x 60 cm, complete | Ogledalo 50 cm x 60 cm, komplet |
| 117 | Towel holder (metal) | Držač peškira (metalni) |
| 118 | Soap holder (metal) | Držač sapuna (metalni) |
| 119 | Toilet paper holder (metal) | Držač toalet papira (metalni) |
| 120 | Metal drainage bars, 40 cm x 40 cm | Metalne slivne rešetke, 40 cm x 40 cm |
| 121 | Asphalt BNS 22 | Asfalt BNS 22 |
| 122 | Metal nails, 7 cm | Metalni ekseri, 7 cm |
| 123 | Metal nails, 10 cm | Metalni ekseri, 10 cm |
| 124 | Metal nails, 12 cm | Metalni ekseri, 12 cm |
| 125 | Metal cover for manhole Ø600 | Metalni poklopac za šaht Ø600 |
| 126 | Thermo insulation Styrofoam, 5 cm, hardness – 17 gr | Termo izolacija Stiropor, 5 cm, čvrstoća – 17 gr |

# Footnotes

Translation is only for informative purposes. In any case English version prevail  /  Prevod je samo informativnog karaktera. U svakom slučaju preovlađuje engleska verzija.